Here:

http://thunting.com/geotech/forums/showthread.php?t=11046&page=15

From the Archives:

Carl-NC

10-26-2005, 11:55 PM

Sure, no problem...

Here's the main PC board:

http://www.thunting.com/geotech/images/pdc1.jpg

There is a microcontroller, a piezo buzzer, some misc components, a "sensor" (top-center), and a "black box" (top-right). The large trace around the perimeter is a loop antenna, which would not be the least bit necessary if the device works according to Mineoro's claims. The oval trace around the sensor, and some components connected to it, are otherwise isolated from the rest of the circuitry, and do nothing.

The sensor is a piece of PVC pipe filled with epoxy:

http://www.thunting.com/geotech/images/sensor3.jpg

This is the one piece I did not have permission to dissect. But it functions as a proximity detector, as the device beeps when objects are about 1/2 inch away.

The black box revealed this nifty little circuit:

http://www.thunting.com/geotech/images/pdc2.jpg

I believe it is a simple regenerative receiver, used to pick up radio waves. I suspect the demonstrations I've heard about involve someone with an appropriate radio transmitter who can remotely cause the device to beep on command.

If anyone has a Mineoro they wish to sell, rent, or loan, I'll finish up my investigation and post a formal report.

- Carl

P.S. -- the device does not detect gold. Yes, I tried.